| HICS 251 – FACILITY SYSTEM STATUS REPORT |
| --- |
| 1. Operational Period Date/Time | 2. Date Prepared | 3. Time Prepared | 4. Building Name: |
| 5. SYSTEM STATUS CHECKLIST |
| COMMUNICATION SYSTEM | OPERATIONAL STATUS | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |
| Fax | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Information Technology System (email/registration/patient records/time card system/intranet, etc.) | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Nurse Call System | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Paging - Public Address | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Radio Equipment | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Satellite System | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Telephone System, External | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Telephone System, Proprietary | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Video-Television-Internet-Cable | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Other | ( Fully functional ( Partially functional ( Nonfunctional |  |
| INFRASTRUCTURE SYSTEM | OPERATIONAL STATUS | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |
| Campus Roadways | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Fire Detection/Suppression System | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Food Preparation Equipment | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Ice Machines | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Laundry/Linen Service Equipment | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Structural Components (building integrity) | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Other | ( Fully functional ( Partially functional ( Nonfunctional |  |
| PATIENT CARE SYSTEM | OPERATIONAL STATUS | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |
| Decontamination System (including containment) | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Digital Radiography System (e.g., PACS) | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Ethylene Oxide (EtO)/Sterilizers | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Isolation Rooms (positive/negative air) | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Other | ( Fully functional ( Partially functional ( Nonfunctional |  |
| SECURITY SYSTEM | OPERATIONAL STATUS | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |
| Door Lockdown Systems | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Surveillance Cameras | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Other | ( Fully functional ( Partially functional ( Nonfunctional |  |
| UTILITIES, EXTERNAL SYSTEM | OPERATIONAL STATUS | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |
| Electrical Power-Primary Service | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Sanitation Systems | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Water | ( Fully functional ( Partially functional ( Nonfunctional | (Reserve supply status) |
| Natural Gas | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Other | ( Fully functional ( Partially functional ( Nonfunctional |  |
| UTILITIES, INTERNAL SYSTEM | OPERATIONAL STATUS | COMMENTS (If not fully operational/functional, give location, reason, and estimated time/resources for necessary repair. Identify who reported or inspected.) |
| Air Compressor | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Electrical Power, Backup Generator | ( Fully functional ( Partially functional ( Nonfunctional | (Fuel status) |
| Elevators/Escalators | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Hazardous Waste Containment System | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Heating, Ventilation, and Air Conditioning (HVAC) | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Medical Gases, Other | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Oxygen | ( Fully functional ( Partially functional ( Nonfunctional | (Reserve supply status) |
| Pneumatic Tube | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Steam Boiler | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Sump Pump | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Well Water System | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Vacuum (for patient use) | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Water Heater and Circulators | ( Fully functional ( Partially functional ( Nonfunctional |  |
| Other | ( Fully functional ( Partially functional ( Nonfunctional |  |
| 6. CERTIFYING OFFICER |
| 7. FACILITY NAME |