POWER/LIGHTING UNIT LEADER

**Mission:** Maintain power and lighting to the hospital and campus facilities. Ensure adequate generator fuel.

|  |
| --- |
| Date: Start: End: Position Assigned to: Initial: **Position Reports to:** **Infrastructure Branch Director** Signature: Hospital Command Center (HCC) Location: Telephone: Fax: Other Contact Info: Radio Title:  |

| **Immediate (Operational Period 0-2 Hours)** | **Time** | **Initial** |
| --- | --- | --- |
| Receive appointment, briefing, and any appropriate materials from the Infrastructure Branch Director. |  |  |
| Read this entire Job Action Sheet and review incident management team chart (HICS Form 207). Put on position identification. |  |  |
| Notify your usual supervisor of your HICS assignment. |  |  |
| Document all key activities, actions, and decisions in an Operational Log (HICS Form 214) on a continual basis. |  |  |
| Appoint Power/Lighting Unit team members and complete the Branch Assignment List (HICS Form 204). |  |  |
| Brief Unit team members on current situation, incident objectives and strategy; outline Unit action plan; and designate time for next briefing. |  |  |
| Ensure Unit members comply with safety policies and procedures. |  |  |
| Ensure security of power plant in conjunction with Security Branch. |  |  |
| Evaluate and communicate the operational status of power/lighting to the Infrastructure Branch Director. |  |  |
| Place emergency repair order(s) for power/lighting as indicated; advise Infrastructure Branch Director of issues.  |  |  |
| Coordinate supply needs with Logistics Section’s Support Branch Director or Supply Unit Leader, as appropriate. |  |  |
| Provide power/lighting support to patient care areas and alternate care sites, etc.  |  |  |
| Coordinate with Infrastructure Branch Director to request external resource assistance. |  |  |
| Document all communications (internal and external) on an Incident Message Form (HICS Form 213). Provide a copy of the Incident Message Form to the Documentation Unit. |  |  |

| **Intermediate (Operational Period 2-12 Hours)** | **Time** | **Initial** |
| --- | --- | --- |
| Meet regularly with the Infrastructure Branch Director for status reports, and relay important information to Unit members. |  |  |
| Continue to monitor and evaluate power/lighting usage and supply. |  |  |
| Anticipate and react to recognized shortage/failure using appropriate emergency procedure(s). |  |  |
| Advise Infrastructure Branch Director immediately of any operational issue you are not able to correct or resolve. |  |  |

| **Extended (Operational Period Beyond 12 Hours)** | **Time** | **Initial** |
| --- | --- | --- |
| Continue to provide regular situation updates to Unit members.  |  |  |
| Continue effective power/lighting sustainment measures.  |  |  |
| Continue to document actions and decisions on an Operational Log (HICS Form 214) and submit to the Infrastructure Branch Director at assigned intervals and as needed.  |  |  |
| Ensure your physical readiness through proper nutrition, water intake, rest and stress management techniques. |  |  |
| Observe all staff and volunteers for signs of stress and inappropriate behavior. Report concerns to the Employee Health & Well-Being Unit Leader. Provide staff rest periods and relief.  |  |  |
| Upon shift change, brief your replacement on the status of all ongoing operations, issues, and other relevant incident information. |  |  |

| **Demobilization/System Recovery** | **Time** | **Initial** |
| --- | --- | --- |
| As needs for Power/Lighting Unit staff decrease, return staff to their normal jobs and combine or deactivate positions in a phased manner. |  |  |
| Notify Infrastructure Branch Director when clean-up/restoration is complete. |  |  |
| Coordinate resupply ordering and restocking of used equipment. |  |  |
| Repair/replace broken equipment.  |  |  |
| Ensure return/retrieval of equipment and supplies and return all assigned incident command equipment. |  |  |
| Coordinate reimbursement issues with Finance/Administration Section Chief. |  |  |
| Debrief staff on lessons learned and procedural/equipment changes needed. |  |  |
| Upon deactivation of your position, ensure all documentation and Operational Logs (HICS Form 214) are submitted to the Infrastructure Branch Director or Operations Section Chief, as appropriate. |  |  |
| Upon deactivation of your position, ensure all documentation and Operational Logs (HICS Form 214) are submitted to Medical Care Branch Director or Operations Section Chief, as appropriate. |  |  |
| Submit comments to the Infrastructure Branch Director for discussion and possible inclusion in the after-action report; topics include:* Review of pertinent position descriptions and operational checklists
* Recommendations for procedure changes and mitigation efforts
* Section accomplishments and issues
 |  |  |
| Participate in stress management and after-action debriefings. Participate in other briefings and meetings as required. |  |  |

| **Documents/Tools** |
| --- |
| * Incident Action Plan
* HICS Form 204 – Branch Assignment List
* HICS Form 207 – Incident Management Team Chart
* HICS Form 213 – Incident Message Form
* HICS Form 214 – Operational Log
* Hospital emergency operations plan
* Hospital organization chart
* Hospital telephone directory
* Radio/satellite phone
* PC with internet access, as available
* Power plan schematics
* Inventory list and vendor supply list
 |